## Slide 2: Geometry

## Slide 3: Geometry
Dimensions:
  Span: 36 m
  Total height: 2,08 m
  Length of equilateral triangle: 2,4 m
   = 38,7°
Sections:
  Chords: CHS 219,1x11
  Braces: CHS 114,3x4,5
Material: S235 steel

## Slide 4: Loading
Nodal loads:
  Self-weight: G = 15 kN
  Variable loads: Q = 10 kN
ULS combination: 1,35 G + 1,5 Q
Safety factors:
  M0 = 1,0
  M1 = 1,0
  M5 = 1,0

## Slide 5: Loading

## Slide 6: Range of validity
According to EN 1993-1-8 Table 7.1
Chords:
Braces:

## Slide 7: KK joint
Reduction factor:  = 0.9

## Slide 8: Chord face failure - K joint

## Slide 9: Punching shear failure
Satisfactory